Radiation Safety
Radiation Safety
Annual Training for Radiation Workers
RSO – Margaret Smallbrock

---
USD NRC License
USD NRC License
- The US Nuclear Regulatory Commission (NRC) licenses the SD Mines to use radioactive material in research.
- The license number is: 40-27640-01
- You may receive additional radiation exposure from research at SD Mines.
- In order to keep this exposure As Low As Reasonably Achievable (ALARA), the NRC requires training, workplace surveys, inventories, etc.

---
Ionizing Radiation
Ionizing Radiation
- Ionizing radiation is produced by the natural decay of radioactive material.
- Beta, gamma, and x-rays are forms of ionizing radiation that are often used in research.
Beta, gamma, x-rays
remove electrons
from atoms
(Ionization).
Ions can form
compounds that might
interfere with cell
division and metabolism
or cause chemical
changes in tissue.
Ions are created,
which are more
chemically
reactive than
neutral atoms.

---
Background Radiation
Background Radiation
- Every person is exposed to radiation
- Average about 620 mrem/yr from all sources
- Natural background:	~ 310 mrem/yr
- Man-made sources:	~ 310 mrem/yr

---
Radiation Exposure
Radiation Exposure
- Your exposure is related to the radiation energy
-  & low energy  (energy < 300 keV) – no external exposure
High energy  (energy > 300 keV) – skin exposure possible
 – very penetrating, just like x-rays

---
Half-life
Half-life
- Length of time for half the atoms to decay, after
  - 1 half-life, 1/2 remains
  - 2 half-lives, 1/2 x 1/2 = (1/2)2 = 1/4 remains
3 half-lives, 1/2 x 1/2 x 1/2 = (1/2)3 = 1/8 remains
n half-lives, (1/2)n remains

---
Radioisotopes at USD
Radioisotopes at USD
- Radioactive elements have unique decay energy & half-life
  - H-3 - 18.3 keV 12.3 yr
  - C-14 - 156 keV 5730 yr
  - P-32 -  1710 keV 14.3 day
  - S-35 -  167 keV 87.2 day
  - P-33 -  249 keV 25.3 day
  - Ca-45 -  258 keV 162.7 day
  - Cr-51  320 keV 27.7 day
  - Rb-86 -  1775 keV;  1076 keV 18.66 day
  - I-125  35.5 keV 60.1 day
  - U-238  4196 keV; x-ray 30 keV 4,468,000,000 yr
- High energy beta has more than 300 keV
- Large quantities, more than 1 mCi

---
Radiation Units
Radiation Units
(1 rad = 100 erg/gm; 1 Gy = 1 J/kg; 1 Gy = 100 rad)
Dose Equivalent – Sievert, rem (1 Sv = 100 rem)
- Activity – Becquerel (1 dps), Curie (3.7 x 1010 dps)
- Exposure in Air– Roentgen
- Absorbed Dose – Gray / rad

---
Signs & Postings
Signs & Postings
- Must post all rooms with warning signs
- Rooms, refrigerators, storage cabinets, radioactive equipment
  - yellow & black or - yellow & magenta
- Post NRC form 3 near the lab

---
Security / Surveillance
Security / Surveillance
- Radioactive material must be kept under direct supervision, in locked storage (e.g., locked cabinet or refrigerator), or in locked laboratory; not in hallways
- Small quantities of radioactive waste are usually not included in this requirement
- Report any lost material or suspicious activity to supervisor or RSO immediately

---
Worker Monitoring Badges
Worker Monitoring Badges
- Measures whole body exposure to radiation, some may get ring dosimeter for P-32 / I-125
- Not given for H-3, C-14, S-35, P-33, Ca-45
- If lost or damaged, notify RSO for replacement

---
Radiation Exposure Limits
Radiation Exposure Limits
Most workers do not need badges, must handle > 1 mCi of high-energy beta (P-32) or gamma-ray (Cr-51, I-125) emitter
Average USD dose -- ~ 0 – 10 mrem/yr

---
Radioactive Material Order
Radioactive Material Order
- Notify RSO of desired order to be placed with Campus Chemical Storeroom.
- Safety will check-in package, do radiation survey, assign inventory tracking number, and deliver to lab
- Lab completes use log

---
Lab Survey Considerations
Lab Survey Considerations
GM Energy vs Efficiency
  - Higher energy (P-32) more penetrating, higher detection efficiency
  - Low energy (C-14, S-35), lower detection efficiency
Distance
Follows inverse square law
Measure at 1 cm for good results

---
Radioactive Material Work
Radioactive Material Work
- Protective clothing
  - Gloves
  - lab coat
  - protective eyewear
- No food or drink in labs
- Survey work area and self with geiger counter after each use
- Wash up before doing non-rad work

---
Radiation Safety
As Low as Reasonable Achievable (ALARA)
  - Distance – keep distance, if you double distance, exposure decreases by 4 (inverse square law)
  - Time – spend less time
  - Shielding – plastic for beta (1/3”), lead for gamma

---
Radioactive Waste
Radioactive Waste
- Keep separate by radioactive element
- Can decay short-lived (i.e., T½ < 120 days) in lab
- EHS collects long lived
- EHS will collect waste if desired
Solids in cardboard boxes, liquids in plastic jugs
- May sewer small amounts
- Report on inventory

---
Monthly Radiation Surveys
Monthly Radiation Surveys
- Monthly, in any month for which radioactive materials are used / stored
- Survey meter & wipe survey
- Action level (clean if over):
  - Meter: > 100 – 200 cpm
  - Wipe: > 100 cpm
- Submit results to RSO
- Document in Binder to stored in the lab

---
Emergencies
Emergencies
- Medical attention takes precedence
- Do not get exposed to get equipment
- Prevent spread of contamination
Serious Injury / big Spill
  - Call SD Mines Campus Safety (605-394-6100)
  - Call RSO (605-394-6020)
Minor spill (most spills)
  - Notify co-workers
  - Monitor self & others
  - Wear protective clothing
  - Identify (survey) spill
  - Spray decontaminant on spill and clean with absorbent pads
  - Meter to verify results
  - Lastly survey yourself
  - Send report to RSO

---
Radiation Safety Training
Radiation Safety Training
Take the online test to complete training.